## Inputs
CHAVE | VALOR
CLIENTE_NOME | CLIENTE TESTE
CLIENTE_ENDERECO_LOGRADOURO | Rua Teste, 123
CLIENTE_BAIRRO_MUN_UF_CEP | Centro - Nova Iguaçu/RJ - 26000-000
LOCAL_CIDADE_UF | Nova Iguaçu/RJ
MES | Junho
ANO | 2026
UC_CONTA_CONTRATO | 123456789
UC_CLASSE | B1
COORD_SUL | -22.8033
COORD_OESTE | -43.3983
FV_POT_KWP | 4.88
MOD_MARCA | OSDA
MOD_MODELO | ODA610
MOD_QTD | 8
MOD_WP | 610
MOD_EFIC | 22.6
MOD_VMP | 40.8
MOD_IMP | 14.95
MOD_VOC | 49.5
MOD_ISC | 15.8
MOD_VSYS_MAX | 1500
MOD_FUSIVEL_MAX | 30
INV_MARCA | AUXSOL
INV_MODELO | ASN-3.3SL
INV_QTD | 1
INV_PN_KW | 3.3
INV_PMAXCC_KW | 5
INV_VCC_MAX | 600
INV_ICC_MAX | 16
INV_VMPPT_MAX | 550
INV_VMPPT_MIN | 80
INV_VSTART | 100
INV_STRINGS | 2
INV_MPPTS | 2
INV_PCA_KW | 3.3
INV_IMAX_CA | 15
INV_VAC_NOM | 220
INV_FN | 60
INV_FP | 0.99
INV_CONEXAO | Monofásico
INV_EFIC_MAX | 98.2
DIST_CC_M | 10
DIST_CA_M | 10
BITOLA_CC_MM2 | 6
BITOLA_CA_MM2 | 6
PROT_CC | String box CC
PROT_CA | Disjuntor 20 A
R_CC_OHMKM | 3.39
R_CA_OHMKM | 3.39

## Consumo_24m
MES | CONSUMO_KWH
MÊS 1 | 300
MÊS 2 | 305
MÊS 3 | 310
MÊS 4 | 315
MÊS 5 | 320
MÊS 6 | 325
MÊS 7 | 330
MÊS 8 | 335
MÊS 9 | 340
MÊS 10 | 345
MÊS 11 | 350
MÊS 12 | 355
MÊS 13 | 360
MÊS 14 | 365
MÊS 15 | 370
MÊS 16 | 375
MÊS 17 | 380
MÊS 18 | 385
MÊS 19 | 390
MÊS 20 | 395
MÊS 21 | 400
MÊS 22 | 405
MÊS 23 | 410
MÊS 24 | 415
TOTAL
MÉDIA

## Cargas_24
ITEM | DESCRICAO | P_W | QTD | FP | CI_KW | CI_KVA
1 | Iluminação | 10 | 20 | 0.92
2 | Geladeira | 300 | 1 | 0.85
3 | Ar-condicionado | 1200 | 2 | 0.9
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
TOTAL

## Calculos
VAR | VALOR
FV_POT_STC_KWP
FV_POT_VI_W
VCC_NOM
ICC_MAX
IAC_MAX
DV_CC_V
DV_CC_PERC
DV_CA_V
DV_CA_PERC

## Mapeamento
PLACEHOLDER | ORIGEM
{{CLIENTE_NOME}} | Inputs!B2
{{CLIENTE_ENDERECO_LOGRADOURO}} | Inputs!B3
{{CLIENTE_BAIRRO_MUN_UF_CEP}} | Inputs!B4
{{LOCAL_CIDADE_UF}} | Inputs!B5
{{MES}} | Inputs!B6
{{ANO}} | Inputs!B7
{{UC_CONTA_CONTRATO}} | Inputs!B8
{{UC_CLASSE}} | Inputs!B9
{{COORD_SUL}} | Inputs!B10
{{COORD_OESTE}} | Inputs!B11
{{FV_POT_KWP}} | Inputs!B12
{{MOD_MARCA}} | Inputs!B13
{{MOD_MODELO}} | Inputs!B14
{{MOD_QTD}} | Inputs!B15
{{MOD_WP}} | Inputs!B16
{{MOD_EFIC}} | Inputs!B17
{{MOD_VMP}} | Inputs!B18
{{MOD_IMP}} | Inputs!B19
{{MOD_VOC}} | Inputs!B20
{{MOD_ISC}} | Inputs!B21
{{MOD_VSYS_MAX}} | Inputs!B22
{{MOD_FUSIVEL_MAX}} | Inputs!B23
{{INV_MARCA}} | Inputs!B24
{{INV_MODELO}} | Inputs!B25
{{INV_QTD}} | Inputs!B26
{{INV_PN_KW}} | Inputs!B27
{{INV_PMAXCC_KW}} | Inputs!B28
{{INV_VCC_MAX}} | Inputs!B29
{{INV_ICC_MAX}} | Inputs!B30
{{INV_VMPPT_MAX}} | Inputs!B31
{{INV_VMPPT_MIN}} | Inputs!B32
{{INV_VSTART}} | Inputs!B33
{{INV_STRINGS}} | Inputs!B34
{{INV_MPPTS}} | Inputs!B35
{{INV_PCA_KW}} | Inputs!B36
{{INV_IMAX_CA}} | Inputs!B37
{{INV_VAC_NOM}} | Inputs!B38
{{INV_FN}} | Inputs!B39
{{INV_FP}} | Inputs!B40
{{INV_CONEXAO}} | Inputs!B41
{{INV_EFIC_MAX}} | Inputs!B42
{{DIST_CC_M}} | Inputs!B43
{{DIST_CA_M}} | Inputs!B44
{{BITOLA_CC_MM2}} | Inputs!B45
{{BITOLA_CA_MM2}} | Inputs!B46
{{PROT_CC}} | Inputs!B47
{{PROT_CA}} | Inputs!B48
{{R_CC_OHMKM}} | Inputs!B49
{{R_CA_OHMKM}} | Inputs!B50
{{FV_POT_STC_KWP}} | Calculos!B2
{{FV_POT_VI_W}} | Calculos!B3
{{VCC_NOM}} | Calculos!B4
{{ICC_MAX}} | Calculos!B5
{{IAC_MAX}} | Calculos!B6
{{DV_CC_V}} | Calculos!B7
{{DV_CC_PERC}} | Calculos!B8
{{DV_CA_V}} | Calculos!B9
{{DV_CA_PERC}} | Calculos!B10
{{CONS_MES1}} | Consumo_24m!B2
{{CONS_MES2}} | Consumo_24m!B3
{{CONS_MES3}} | Consumo_24m!B4
{{CONS_MES4}} | Consumo_24m!B5
{{CONS_MES5}} | Consumo_24m!B6
{{CONS_MES6}} | Consumo_24m!B7
{{CONS_MES7}} | Consumo_24m!B8
{{CONS_MES8}} | Consumo_24m!B9
{{CONS_MES9}} | Consumo_24m!B10
{{CONS_MES10}} | Consumo_24m!B11
{{CONS_MES11}} | Consumo_24m!B12
{{CONS_MES12}} | Consumo_24m!B13
{{CONS_MES13}} | Consumo_24m!B14
{{CONS_MES14}} | Consumo_24m!B15
{{CONS_MES15}} | Consumo_24m!B16
{{CONS_MES16}} | Consumo_24m!B17
{{CONS_MES17}} | Consumo_24m!B18
{{CONS_MES18}} | Consumo_24m!B19
{{CONS_MES19}} | Consumo_24m!B20
{{CONS_MES20}} | Consumo_24m!B21
{{CONS_MES21}} | Consumo_24m!B22
{{CONS_MES22}} | Consumo_24m!B23
{{CONS_MES23}} | Consumo_24m!B24
{{CONS_MES24}} | Consumo_24m!B25
{{CONS_TOTAL}} | Consumo_24m!B26
{{CONS_MEDIA}} | Consumo_24m!B27
{{CARGA1_DESC}} | Cargas_24!B2
{{CARGA1_P_W}} | Cargas_24!C2
{{CARGA1_QTD}} | Cargas_24!D2
{{CARGA1_FP}} | Cargas_24!E2
{{CARGA1_CI_KW}} | Cargas_24!F2
{{CARGA1_CI_KVA}} | Cargas_24!G2
{{CARGA2_DESC}} | Cargas_24!B3
{{CARGA2_P_W}} | Cargas_24!C3
{{CARGA2_QTD}} | Cargas_24!D3
{{CARGA2_FP}} | Cargas_24!E3
{{CARGA2_CI_KW}} | Cargas_24!F3
{{CARGA2_CI_KVA}} | Cargas_24!G3
{{CARGA3_DESC}} | Cargas_24!B4
{{CARGA3_P_W}} | Cargas_24!C4
{{CARGA3_QTD}} | Cargas_24!D4
{{CARGA3_FP}} | Cargas_24!E4
{{CARGA3_CI_KW}} | Cargas_24!F4
{{CARGA3_CI_KVA}} | Cargas_24!G4
{{CARGA4_DESC}} | Cargas_24!B5
{{CARGA4_P_W}} | Cargas_24!C5
{{CARGA4_QTD}} | Cargas_24!D5
{{CARGA4_FP}} | Cargas_24!E5
{{CARGA4_CI_KW}} | Cargas_24!F5
{{CARGA4_CI_KVA}} | Cargas_24!G5
{{CARGA5_DESC}} | Cargas_24!B6
{{CARGA5_P_W}} | Cargas_24!C6
{{CARGA5_QTD}} | Cargas_24!D6
{{CARGA5_FP}} | Cargas_24!E6
{{CARGA5_CI_KW}} | Cargas_24!F6
{{CARGA5_CI_KVA}} | Cargas_24!G6
{{CARGA6_DESC}} | Cargas_24!B7
{{CARGA6_P_W}} | Cargas_24!C7
{{CARGA6_QTD}} | Cargas_24!D7
{{CARGA6_FP}} | Cargas_24!E7
{{CARGA6_CI_KW}} | Cargas_24!F7
{{CARGA6_CI_KVA}} | Cargas_24!G7
{{CARGA7_DESC}} | Cargas_24!B8
{{CARGA7_P_W}} | Cargas_24!C8
{{CARGA7_QTD}} | Cargas_24!D8
{{CARGA7_FP}} | Cargas_24!E8
{{CARGA7_CI_KW}} | Cargas_24!F8
{{CARGA7_CI_KVA}} | Cargas_24!G8
{{CARGA8_DESC}} | Cargas_24!B9
{{CARGA8_P_W}} | Cargas_24!C9
{{CARGA8_QTD}} | Cargas_24!D9
{{CARGA8_FP}} | Cargas_24!E9
{{CARGA8_CI_KW}} | Cargas_24!F9
{{CARGA8_CI_KVA}} | Cargas_24!G9
{{CARGA9_DESC}} | Cargas_24!B10
{{CARGA9_P_W}} | Cargas_24!C10
{{CARGA9_QTD}} | Cargas_24!D10
{{CARGA9_FP}} | Cargas_24!E10
{{CARGA9_CI_KW}} | Cargas_24!F10
{{CARGA9_CI_KVA}} | Cargas_24!G10
{{CARGA10_DESC}} | Cargas_24!B11
{{CARGA10_P_W}} | Cargas_24!C11
{{CARGA10_QTD}} | Cargas_24!D11
{{CARGA10_FP}} | Cargas_24!E11
{{CARGA10_CI_KW}} | Cargas_24!F11
{{CARGA10_CI_KVA}} | Cargas_24!G11
{{CARGA11_DESC}} | Cargas_24!B12
{{CARGA11_P_W}} | Cargas_24!C12
{{CARGA11_QTD}} | Cargas_24!D12
{{CARGA11_FP}} | Cargas_24!E12
{{CARGA11_CI_KW}} | Cargas_24!F12
{{CARGA11_CI_KVA}} | Cargas_24!G12
{{CARGA12_DESC}} | Cargas_24!B13
{{CARGA12_P_W}} | Cargas_24!C13
{{CARGA12_QTD}} | Cargas_24!D13
{{CARGA12_FP}} | Cargas_24!E13
{{CARGA12_CI_KW}} | Cargas_24!F13
{{CARGA12_CI_KVA}} | Cargas_24!G13
{{CARGA13_DESC}} | Cargas_24!B14
{{CARGA13_P_W}} | Cargas_24!C14
{{CARGA13_QTD}} | Cargas_24!D14
{{CARGA13_FP}} | Cargas_24!E14
{{CARGA13_CI_KW}} | Cargas_24!F14
{{CARGA13_CI_KVA}} | Cargas_24!G14
{{CARGA14_DESC}} | Cargas_24!B15
{{CARGA14_P_W}} | Cargas_24!C15
{{CARGA14_QTD}} | Cargas_24!D15
{{CARGA14_FP}} | Cargas_24!E15
{{CARGA14_CI_KW}} | Cargas_24!F15
{{CARGA14_CI_KVA}} | Cargas_24!G15
{{CARGA15_DESC}} | Cargas_24!B16
{{CARGA15_P_W}} | Cargas_24!C16
{{CARGA15_QTD}} | Cargas_24!D16
{{CARGA15_FP}} | Cargas_24!E16
{{CARGA15_CI_KW}} | Cargas_24!F16
{{CARGA15_CI_KVA}} | Cargas_24!G16
{{CARGA16_DESC}} | Cargas_24!B17
{{CARGA16_P_W}} | Cargas_24!C17
{{CARGA16_QTD}} | Cargas_24!D17
{{CARGA16_FP}} | Cargas_24!E17
{{CARGA16_CI_KW}} | Cargas_24!F17
{{CARGA16_CI_KVA}} | Cargas_24!G17
{{CARGA17_DESC}} | Cargas_24!B18
{{CARGA17_P_W}} | Cargas_24!C18
{{CARGA17_QTD}} | Cargas_24!D18
{{CARGA17_FP}} | Cargas_24!E18
{{CARGA17_CI_KW}} | Cargas_24!F18
{{CARGA17_CI_KVA}} | Cargas_24!G18
{{CARGA18_DESC}} | Cargas_24!B19
{{CARGA18_P_W}} | Cargas_24!C19
{{CARGA18_QTD}} | Cargas_24!D19
{{CARGA18_FP}} | Cargas_24!E19
{{CARGA18_CI_KW}} | Cargas_24!F19
{{CARGA18_CI_KVA}} | Cargas_24!G19
{{CARGA19_DESC}} | Cargas_24!B20
{{CARGA19_P_W}} | Cargas_24!C20
{{CARGA19_QTD}} | Cargas_24!D20
{{CARGA19_FP}} | Cargas_24!E20
{{CARGA19_CI_KW}} | Cargas_24!F20
{{CARGA19_CI_KVA}} | Cargas_24!G20
{{CARGA20_DESC}} | Cargas_24!B21
{{CARGA20_P_W}} | Cargas_24!C21
{{CARGA20_QTD}} | Cargas_24!D21
{{CARGA20_FP}} | Cargas_24!E21
{{CARGA20_CI_KW}} | Cargas_24!F21
{{CARGA20_CI_KVA}} | Cargas_24!G21
{{CARGA21_DESC}} | Cargas_24!B22
{{CARGA21_P_W}} | Cargas_24!C22
{{CARGA21_QTD}} | Cargas_24!D22
{{CARGA21_FP}} | Cargas_24!E22
{{CARGA21_CI_KW}} | Cargas_24!F22
{{CARGA21_CI_KVA}} | Cargas_24!G22
{{CARGA22_DESC}} | Cargas_24!B23
{{CARGA22_P_W}} | Cargas_24!C23
{{CARGA22_QTD}} | Cargas_24!D23
{{CARGA22_FP}} | Cargas_24!E23
{{CARGA22_CI_KW}} | Cargas_24!F23
{{CARGA22_CI_KVA}} | Cargas_24!G23
{{CARGA23_DESC}} | Cargas_24!B24
{{CARGA23_P_W}} | Cargas_24!C24
{{CARGA23_QTD}} | Cargas_24!D24
{{CARGA23_FP}} | Cargas_24!E24
{{CARGA23_CI_KW}} | Cargas_24!F24
{{CARGA23_CI_KVA}} | Cargas_24!G24
{{CARGA24_DESC}} | Cargas_24!B25
{{CARGA24_P_W}} | Cargas_24!C25
{{CARGA24_QTD}} | Cargas_24!D25
{{CARGA24_FP}} | Cargas_24!E25
{{CARGA24_CI_KW}} | Cargas_24!F25
{{CARGA24_CI_KVA}} | Cargas_24!G25
{{CARGA_TOTAL_KW}} | Cargas_24!F26
{{CARGA_TOTAL_KVA}} | Cargas_24!G26